## HVAC Item Price List Sample
Category 1 | Item Description | Units | Price Per Unit | Taxable
AC - 2 ton, 16 SEER | 2 Ton, 16 SEER, includes removal, condenser pad, new coil, flushed line set, programmable thermostat, labor, tax and permits, 1 year maintenance plan. |  | 3985
AC - 2.5 ton, 16 SEER | 2.5 Ton, 16 SEER, includes removal, condenser pad, new coil, flushed line set, programmable thermostat, labor, tax and permits, 1 year maintenance plan. |  | 4097
AC - 3 ton, 16 SEER | 3 Ton, 16 SEER, includes removal, condenser pad, new coil, flushed line set, programmable thermostat, labor, tax and permits, 1 year maintenance plan. |  | 4201
AC - 3.5 ton, 16 SEER | 3.5 Ton, 16 SEER, includes removal, condenser pad, new coil, flushed line set, programmable thermostat, labor, tax and permits, 1 year maintenance plan. |  | 4545
AC - 4 ton, 16 SEER | 4 Ton, 16 SEER, includes removal, condenser pad, new coil, flushed line set, programmable thermostat, labor, tax and permits, 1 year maintenance plan. |  | 4917
AC concrete pad | Provide pre-cast concrete pad, place and level. |  | 150
Air filter | Install electronic air filter. |  | 1050
Air filter | Install new air filter, includes duct modifications. |  | 418.5
Air filter | Whole home MERV 10 air filtration system. |  | 460
Boiler - 87%, 150,000 BTU | 87% efficient, 150,000 BTU natural gas boiler, includes removal of old system, vent and gas piping, 6 year parts and labor warranty, permits, labor and taxes. |  | 10075
Boiler - 87%, 200,000 BTU | 87% efficient, 200,000 BTU natural gas boiler, includes removal of old system, vent and gas piping, 6 year parts and labor warranty, permits, labor and taxes. |  | 10182
Boiler - 92%, 100,000 BTU | 92% efficient, 100,000 BTU natural gas boiler, includes removal of old system, vent and gas piping, 6 year parts and labor warranty, permits, labor and taxes. |  | 9050
Boiler - 92%, 50,000 BTU | 92% efficient, 50,000 BTU natural gas boiler, includes removal of old system, vent and gas piping, 6 year parts and labor warranty, permits, labor and taxes. |  | 8943
Boiler - 92%, 75,000 BTU | 92% efficient, 75,000 BTU natural gas boiler, includes removal of old system, vent and gas piping, 6 year parts and labor warranty, permits, labor and taxes. |  | 8943
Boiler LP Kit | Natural gas to LP (liquefied propane) conversion kit. |  | 300
Boiler - 100,000 BTU | Install steel gas boiler, 100,000 BTU. No removal of old system included. |  | 4716
Boiler - 130,000 BTU | Install steel gas boiler, 130,000 BTU. No removal of old system included. |  | 5202
Boiler - 80,000 BTU | Install steel gas boiler, 80,000 BTU. No removal of old system included. |  | 4230
Condensate Pump | Install new condensate pump. |  | 195
Dryer vent - cut new opening | Vent dryer to the outside with rigid duct, 2 elbows, clamps (cut new opening in rim), seal. |  | 220
Dryer vent - replace | Vent dryer to the outside with rigid duct, 2 elbows, clamps (replace existing up to 8'), seal. |  | 210
Duct - insulation R-12 | Insulate ducts with R-12 fiberglass insulation. | lin ft | 8
Duct - insulation R-8 | Insulate ducts with R-8 fiberglass insulation. | lin ft | 6
Duct - new design | Install new ducting per design, includes labor and tape. | lin ft | 4
Duct - retrofit | Remove old and install new ducts. | lin ft | 8
Duct - seal and insulate with foam | Install 1" of 2-part spray foam to insulate and seal duct. | lin ft | 6
Duct - sealing | Seal duct connection with mastic or foil tape. | seams | 5
Electric baseboard, 4', 1000W | Install electric baseboard, 1000W, 4' long, within 15' of power. No removal of old system included. |  | 304.2
Electric baseboard, 6', 1500W | Install electric baseboard, 1500W, 6' long, within 15' of power. No removal of old system included. |  | 401.7
Electric baseboard, 8', 2000W | Install electric baseboard, 2000W, 8' long, within 15' of power. No removal of old system included. |  | 499.2
Electric baseboard, 10', 2500W | Install electric baseboard, 2500W, 10' long, within 15' of power. No removal of old system included. |  | 596.7
Electrical Supply - AC | Provide new electrical for the AC unit, includes labor, junction box, wiring and fittings. |  | 600
Electrical Supply - Furnace | Provide new electrical for the furnace, includes labor, junction box, circuit breaker, outlet and wiring. |  | 450
Exhaust Fan - 100 cfm | Cost to install and vent to the outside a new 100 cfm fan and light combo. |  | 380
Exhaust Fan - 70 cfm | Cost to install and vent to the outside a new 70 cfm fan and light combo. |  | 350
Fireplace | Install a new gas fireplace. |  | 3000
Fireplace insert | Install new gas fireplace insert. |  | 3300
Fireplace gas line | Install new gas line for fireplace. |  | 600
Fireplace damper | Install damper in fireplace with no damper. |  | 751.17
Furnace - conversion kit | Natural gas to LP (liquefied propane) conversion kit. |  | 300
Furnace, 90%, 45,000 BTU, Single Stage | 90% AFUE, 45,000 BTU, includes removal, pvc intake and drain, custom plenum adapter and return drop kit, programmable thermostat, labor tax and permits, 1 year preventative maintenance plan. |  | 2600
Furnace, 90%, 70,000 BTU, Single Stage | 90% AFUE, 70,000 BTU, includes removal, pvc intake and drain, custom plenum adapter and return drop kit, programmable thermostat, labor tax and permits, 1 year preventative maintenance plan. |  | 2700
Furnace, 90%, 90,000 BTU, Single Stage | 90% AFUE, 90,000 BTU, includes removal, pvc intake and drain, custom plenum adapter and return drop kit, programmable thermostat, labor tax and permits, 1 year preventative maintenance plan. |  | 2750
Furnace, 96%, 100,000 BTU, Modulating | 96% AFUE, modulating, 100,000 BTU, includes removal, pvc intake and drain, custom plenum adapter and return drop kit, programmable thermostat, labor tax and permits, 1 year preventative maintenance plan. |  | 4347
Furnace, 96%, 115,000 BTU, Modulating | 96% AFUE, modulating, 115,000 BTU, includes removal, pvc intake and drain, custom plenum adapter and return drop kit, programmable thermostat, labor tax and permits, 1 year preventative maintenance plan. |  | 4529
Furnace, 96%, 115,000 BTU, Multi Stage | 96% AFUE, multi-stage, 115,000 BTU, includes removal, pvc intake and drain, custom plenum adapter and return drop kit, programmable thermostat, labor tax and permits, 1 year preventative maintenance plan. |  | 3289
Furnace, 96%, 45,000 BTU, Multi Stage | 96% AFUE, Multi stage, 45,000 BTU, includes removal, pvc intake and drain, custom plenum adapter and return drop kit, programmable thermostat, labor tax and permits, 1 year preventative maintenance plan. |  | 2854
Furnace, 96%, 60,000 BTU, Modulating | 96% AFUE, modulating, 60,000 BTU, includes removal, pvc intake and drain, custom plenum adapter and return drop kit, programmable thermostat, labor tax and permits, 1 year preventative maintenance plan. |  | 3778
Furnace, 96%, 70,000 BTU, Multi Stage | 96% AFUE, multi-stage, 70,000 BTU, includes removal, pvc intake and drain, custom plenum adapter and return drop kit, programmable thermostat, labor tax and permits, 1 year preventative maintenance plan. |  | 2968
Furnace, 96%, 80,000 BTU, Modulating | 96% AFUE, modulating, 80,000 BTU, includes removal, pvc intake and drain, custom plenum adapter and return drop kit, programmable thermostat, labor tax and permits, 1 year preventative maintenance plan. |  | 4158
Furnace, 96%, 90,000 BTU, Multi Stage | 96% AFUE, multi-stage, 90,000 BTU, includes removal, pvc intake and drain, custom plenum adapter and return drop kit, programmable thermostat, labor tax and permits, 1 year preventative maintenance plan. |  | 3185
Furnace, Electric, 100,000 BTU | Install electric forced air furnace, 100,000 BTU. No ductwork or removal of old system included. |  | 2121.75
Furnace, Electric, 120,000 BTU | Install electric forced air furnace, 120,000 BTU. No ductwork or removal of old system included. |  | 2356.65
Furnace, Electric, 75,000 BTU | Install electric forced air furnace, 75,000 BTU. No ductwork or removal of old system included. |  | 1677.6
Furnace, Electric, 90,000 BTU | Install electric forced air furnace, 90,000 BTU. No ductwork or removal of old system included. |  | 1862.55
Gas supply | Provide new gas supply, includes labor, gas pipe and fittings. |  | 550
Health and safety | Carbon monoxide/smoke detector combo installed (battery operated). |  | 38
Health and safety | Carbon monoxide detector installed (plug-in with battery backup). |  | 30
Heat pump - 1.5 ton, 16 SEER | Install 1.5 ton heat pump & handler, split system, 16 SEER. Existing power source. |  | 5311.545
Heat pump - 2 ton, 16 SEER | Install 2.0 ton heat pump & handler, split system, 16 SEER. Existing power source. |  | 5620.8
Heat pump - 2.5 ton, 16 SEER | Install 2.5 ton heat pump & handler, split system, 16 SEER. Existing power source. |  | 6058.605
Heat pump - 3 ton, 16 SEER | Install 3.0 ton heat pump & handler, split system, 16 SEER. Existing power source. |  | 6341.445
Heat pump - 3.5 ton, 16 SEER | Install 3.5 ton heat pump & handler, split system, 16 SEER. Existing power source. |  | 6844.455
Heat pump - 4 ton, 16 SEER | Install 4.0 ton heat pump & handler, split system, 16 SEER. Existing power source. |  | 8128.065
Heat pump - 4.5 ton, 16 SEER | Install 5.0 ton heat pump & handler, split system, 16 SEER. Existing power source. |  | 8357.205
Humidifier | Install a new whole home humidification system. |  | 460
Labor - general | Skilled labor required to conduct scope of work. | man hour | 65
Labor - skilled | General labor required to conduct scope of work. | man hour | 30
Pipe insulation | Boiler pipe insulation. | lin ft | 7.5
Register | Install metal register(s). |  | 20
Removal - AC | Remove the existing AC unit and haul away. |  | 80
Removal - AC and Furnace | Remove the existing furnace and AC unit and haul away. |  | 180
Removal - Furnace | Remove the existing furnace and haul away. |  | 100
Return grill | Install metal air return grill. |  | 55
Thermostat - Programmable | Install programmable thermostat. |  | 120
Thermostat -Wi-Fi | Install Wi-Fi enabled thermostat. |  | 250
Vent fan through gable | Exhaust bath vent through sidewall (dampered vent, insulated flex or duct). |  | 96
Vent fan through roof | Exhaust bath vent through roof (dampered vent, insulated flex or duct). |  | 96
Ventilation | Install bathroom light with fan & switch in open ceiling & walls, within 10' of power source. No wall patching. |  | 332.25
Ventilation | Install bathroom light with fan & switch on finished ceiling/walls, within 10' of power source. No wall patching. |  | 458.25
Ventilation | Install 36" diameter whole house fan within 10' of power source. No wall patching. |  | 1032
Ventilation | Install gable fan within 10' of power source. No wall patching. |  | 423
Wall Furnace - 35,000 BTU | Install gas wall furnace, 35,000 BTU, direct vent. No ductwork or removal of old system included. |  | 1473.48
Wall Furnace - 50,000 BTU | Install gas wall furnace, 50,000 BTU, direct vent. No ductwork or removal of old system included. |  | 1564.2
Water heater conversion kit | Natural gas to LP (liquefied propane) conversion kit. |  | 70
Water heater, 40 gallon | 40 gallon power vented water heater, includes removal, vent and gas piping, 6 year parts and labor, warranty, permits, labor and taxes. |  | 1404
Water heater, 50 gallon | 50 gallon power vented water heater, includes removal, vent and gas piping, 6 year parts and labor, warranty, permits, labor and taxes. |  | 1466
Water heater, tankless | Navien tankless, includes removal, vent and gas piping, 6 year parts and labor, warranty, permits, labor and taxes. |  | 3678